**PPD Construction Administration Checklist**

CM/GC shall be responsible for following inspections and reviews and obtaining PPD approval for the building sub-system for substantial completion.

|  |  |  |
| --- | --- | --- |
| **23** | **Utility Services Transfer** | Approved for Substantial Completion:(Required for Substantial Completion Approval by PPD) |
|  | Inspection/Review Item | **Notice Required** | **Remarks** |
|  1 | Water Meter documentation and Start-up with initial readingChilled water meter documentation Start-up with initial reading takenElectric Meter documentation Start-up with initial reading takenSteam meter documentation Start-up with initial reading takenGas Meter documentation Start-up with initial reading taken | 72 Hours | Contractor to provide O&M manuals for specified meters and provide start-up training. |
|  2 | SCI: final meter reading and account transfer  | 72 Hours | Final meter reading will be done by PPD and the contractor representative. FP&C PM must notify PPD Accounting if and when any project specific alternate utility payment arrangements are made. |